## Detectable Compounds
Cerex FTIR Analyzer Detectable Compounds
Name | CAS NUM | Formula | Spectrum file name | Chapter and Spectrum Letters | Molecular Weights
Acetaldehyde | 75-07-0 | C2H4O | gmhzaa.spc | GM | 4.05
Acetic acid, monomer | 64-19-7 | C2H4O2 | gahzaacm.spc | GA | 60.05
Acetic acid, mon. and di. | 64-19-7 | C2H4O2 | gbhzaacm.spc | GB
Acetone | 67-64-1 | C3H6O | iahzact.spc | IA | 58.08
Acetone cyanohydrin | 75-86-5 | C4H7NO | nahzach.spc | NA | 85.1
Aceto nitrile | 75-05-8 | C2H3N | nbhzan.spc | NB | 41.05
Acetophenone | 98-86-2 | C8H8O | ibhzacph.spc | IB | 120.15
Acetyl chloride | 75-36-5 | C2H3ClO | tahzaccl.spc | TA | 78.5
Acetyl fluoride | 74-86-2 | C2H2 | tbhzacf.spc | TB | 62.04
Acetylene | 74-86-2 | C2H2 | aahxacy.spc | AA | 26.02
Acrolein | 107-02-8 | C3H4O | gnhzacro.spc | GN | 56.07
Acrylic acid, monomer | 79-10-7 | C3H4O2 | gchzacya.spc | GC | 72.06
Acrylic acid, mon. + di. | 79-10-7 | C3H4O2 | gehzacya.spc | GE
Acrylic acid, mostly mon. | 79-10-7 | C3H4O2 | gdhzacya.spc | GD
Acrylo nitrile | 107-13-1 | C3H3N | nchzacni.spc | NC | 53.06
Allene | 463-49-0 | C3H4 | abhzall.spc | AB | 40.06
Allyl alcohol | 107-18-6 | C3H6O | jahzaa.spc | JA | 58.08
Allyl amine | 107-11-9 | C3H7N | hahzalam.spc | HA | 57.1
Allyl bromide | 106-95-6 | C3H5Br | rbhzalb.spc | RB | 120.98
Allyl chloride | 107-05-1 | C3H5Cl | tbhzallc.spc | RC | 76.53
Allyl iodide | 556-56-9 | C3H5I | rdhzali.spc | RD | 167.98
Allyl isothiocyanate | 57-06-7 | C4H5NS | oahzaitc.spc | OA | 99.16
Alpha-Pinene | 80-56-8 | C10H16 | cahzapih.spc | CA | 136.24
Ammonia | 7664-41-7 | H3N | eahzhh3.spc | EA | 17.03
Arsine | 7784-42-1 | AsH3 | ebhzash3.spc | EB | 77.95
Benzaldehyde | 100-52-7 | C7H6O | gohzbza.spc | GO | 106.12
Benzene | 71-43-2 | C6H6 | dahxbenz.spc | DA | 78.11
Benzene thiol (Thio phenol) | 108-98-5 | C6H6S | obhzbzth.spc | OB | 110.18
Benzo nitrile | 100-47-0 | C7H5N | ndhzbznl.spc | ND | 103.12
Benzotrichloride | 98-07-7 | C7H5Cl3 | sahzbztc.spc | SA | 195.48
Benzyl Alcohol | 100-51-6 | C7H8O | jbhzbza.spc | JB | 108.13
Benzyl bromide | 100-39-0 | C7H7Br | slhzbzbr.spc | SL | 171
Benzyl chloride | 100-44-7 | C7H7Cl | sbhzbzcl.spc | SB | 126.59
Beta-Picoline | 108-99-6 | C6H7N | tchzbpic.spc | TC | 93.13
Beta-Pinene | 127-91-3 | C10H16 | cbhzbpin.spc | CB | 136.24
Bicyclo[2,2,l]hepta-2,5-diene | 121-46-0 | C7H8 | cchzbhd.spc | CC | 92.14
Boron trichloride | 10294-34-5 | BCl3 | tehzbcl.spc | TE | 117.19
Boron trifluoride | "7637-07-2" | BF3 | tdhzbf3.spc | TD | 67.81
Bromobenzene | 108-86-1 | C6H5Br | schzbrbz.spc | SC | 157.02
Bromochloromethane | 74-97-5 | CH2BrCl | pahzbcm.spc | PA | 129.39
Bromoethane | 74-96-4 | C2H5Br | qaahzbe.spc | QAA | 108.97
Bromoform | 75-25-2 | CHBr3 | pbhzbrf.spc | PB | 252.77
Bromo methane | 74-83-9 | CH3Br | pchzbrm.spc | PC | 94.94
Bromotrifluoromethane | 75-63-8 | CBrF3 | pdhzcf3b.spc | PD | 148.92
1,3 Butadiene | 106-99-0 | C4H6 | achzbd.spc | AC | 54.09
Butane | 106-97-8 | C4H10 | adhzbu.spc | AD | 58.12
2-Butanone | 78-93-3 | C4H8O | ichzmek.spc | IC | 72.11
1-Butene | 106-98-9 | C4H8 | aehz1bte.spc | AE | 56.1
cis-2-Butene | 590-18-1 | C4H8 | afhzc2bu.spc | AF | 56.1
trans-2-Butene | 624-64-6 | C4H8 | aghzt2bu.spc | AG | 56.1
2-Butoxy ethanol | 111-76-2 | C6H14O2 | jchbtox.spc | JC | 118.18
n-Butyl acetate | 123-86-4 | C6H12O2 | kahzbac.spc | KA | 116.16
n-Butyl acrylate | 141-32-2 | C7H12O2 | kbhzbac.spc | KB | 128.17
n-Butyl alcohol | 71-36-3 | C4H10O | jdhzbalc.spc | JD | 74.12
n-Butyl amine | 109-73-9 | C4H11N | hbhzbuam.spc | HB | 73.14
n-Butyl nitrite | 544-16-1 | C4H9NO2 | nehzbuni.spc | NE | 103.12
n-Butyraldehyde | 123-72-8 | C4H8O | gphzbal.spc | GP | 72.11
Carbon dioxide | 124-38-9 | CO2 | fahzcd.spc, fmh50kcd.spc | FA and FAA | 44.01
Carbon disulfide | 75-15-0 | CS2 | ochzcs2.spc | OC | 76.14
Carbon monoxide | 630-08-0 | CO | fbhkco.spc, fbhzco.spc | FB and FBB | 28.01
Carbon tetrachloride | 56-23-5 | CCl4 | pehzct.spc | PE | 153.82
Carbonyl fluoride | 353-50-4 | CF2O | tfhzcof2.spc | TF | 66.01
Carbonyl sulfide | 463-58-1 | COS | odhzcos.spc | OD | 60.07
Chlorine dioxide | 10049-04-4 | ClO2* | fchclo2.spc | FC | 67.46
Chloroacetic acid | 79-11-8 | C2H3ClO2 | gfhzclac.spc | GF | 94.5
Chloroacetophenone | 532-27-4 | C8H7ClO | idhzclap.spc | ID | 154.6
Chlorobenzene | 108-90-7 | C6H5Cl | sdhzcbz.spc | SD | 112.56
2-Chloro-1,3-butadiene | 126-99-8 | C4H5Cl | rehzclp.spc | RE | 88.54
1-Chloro-1,1 difluoroethane | 75-68-3 | C2H3ClF2 | qahzgt.spc | QA | 100.5
Chlorodifluoromethane | 75-45-6 | CHClF2 | pfhzf22.spc | PF | 86.47
Chloroethane | 75-00-3 | C2H5Cl | qbhzce.spc | QB | 64.52
2-Chloro ethanol | 107-07-3 | C2H5ClO | jehz2cet.spc | JE | 80.52
2-Chloroethyl ethyl ether | 628-34-2 | C4H9ClO | lahz2cee.spc | LK | 108.57
Chloroform | 67-66-3 | CHCl3 | pghzclf.spc | PG | 119.39
Chloromethane | 74-87-3 | CH3Cl | phhzclm.spc | PH | 50.49
bis-Chloromethyl ether | 542-88-1 | C2H4Cl2O | lahzbcme.spc | LA | 114.95
Chloromethyl methyl ether | 107-30-2 | C2H5ClO | lbhzcmme.spc | LB | 80.51
Chloropentafluoroethane | 76-15-3 | C2ClF5 | qchzcpfe.spc | QC | 154.5
Chlorosulfonyl isocyanate | 1189-71-5 | CNClO3S | oehzcsi.spc | OE | 141.53
Chlorotetrafluoroethane | 2837-89-0 | C2HClF4 | qdhzctfe.spc | QD | 136.47
2-Chlorotoluene | 95-49-8 | C7H7Cl | sehzclto.spc | SE | 126.59
4-Chlorotoluene | 106-43-4 | C7H7Cl | sfhzcltl.spc | SF | 126.59
Chlorotrifluoroethylene | 79-38-9 | C2ClF3 | rfhzctfe.spc | RF | 116.48
Chlorotrifluoromethane | 75-72-9 | CClF3 | pihzctfm.spc | PI | 104.46
m-Cresol | 108-39-4 | C7H8O | jfhzmcre.spc | JF | 108.14
o-Cresol | 95-48-7 | C7H8O | jghzocre.spc | JG | 108.14
p-Cresol | 106-44-5 | C7H8O | jhhzpcre.spc | JH | 108.14
Crotonaldehyde | 4170-30-3 | C4H6O | gqhcra.spc | GQ | 70.09
Cyanogen | 460-19-5 | C2N2 | tghznccn.spc | TG | 52.04
Cyanogen chloride | 506-77-4 | CClN | thhzcncl.spc | TH | 61.48
Cyclohexane | 110-82-7 | C6H12 | bahzchx.spc | BA | 84.16
Cyclohexanol | 108-93-0 | C6H12O | jihzchex.spc | JI | 100.16
Cyclohexanone | 108-94-1 | C6H10O | iehzchxo.spc | IE | 98.15
Cyclohexene | 110-83-8 | C6H10 | bbhzche.spc | BB | 82.15
Cyclopentene | 142-29-0 | C5H8 | banzcype.spc | BC | 68.11
Cyclopropane | 75-19-4 | C3H6 | ahhzcypr.spc | AH | 42.08
Desflurane | 57041-67-5 | C3H2F6O | lbhzdef.spc | LBB | 168.04
Diacetone alcohol | 123-42-2 | C6H12O2 | jjhzdaa.spc | JJ | 116.16
Diborane | 19287-45-7 | H6B2 | echzb2h6.spc | EC | 27.67
1,2-Dibromo-3-chloropropane | 96-12-8 | C3H5Br2Cl | rghzdbcp.spc | RG | 236.36
1,2 Dibromoethane | 106-93-4 | C2H4Br2 | qehzedb.spc | QE | 187.87
Cis-trans Dibromoethylene | 540-49-8 | C2H2Br2 | rhhzdbey.spc | RH | 185.86
Dibromodifluoro methane | 75-61-6 | CBr2F2 | pjhzdbfm.spc | PJ | 209.81
Dibromomethane | 74-95-3 | CH2Br2 | pkhzdbm.spc | PK | 173.85
1,2-Dibromotetrafluoro ethane | 124-73-2 | C2Br2F4 | qeehzdte.spc | QEE | 259.83
Dibutyl, monobutyl phosphate | 107-66-4 | C8H19O4P | tihzdbp.spc | TI | 210.21
m-Dichlorobenzene | 541-73-1 | C6H4Cl2 | sghzmdcb.spc | SG | 147.01
o-Dichlorobenzene | 95-50-1 | C6H4Cl2 | shhzodcb.spc | SH | 147.01
p-Dichlorobenzene | 106-46-7 | C6H4Cl2 | sihzpdcb.spc | SI | 147.01
Dichlorodifluoromethane | 75-71-8 | CCl2F2 | plhxf12.spc | PL | 120.92
1,1 Dichloroethane | 75-34-3 | C2H4Cl2 | qfhzdce.spc | QF | 98.96
1,2 Dichloroethane | 107-06-2 | C2H4Cl2 | qghzdce.spc | QG | 98.96
cis-1,2 Dichloroethylene | 156-59-2 | C2H2Cl2 | rihzdcel.spc | RI | 96.94
trans-1,2 Dichloroethylene | 156-60-5 | C2H2Cl2 | rjhztdce.spc | RJ | 96.94
Dichloroethyl ether | 111-44-4 | C4H8Cl2O | lchzdcee.spc | LC | 143.01
1,1-Dichloro-1-fluoro ethane | 1717-00-6 | C2H3ClF2 | qhhzgs.spc | QH | 116.92
Dichlorofluoro methane | 75-43-4 | CHCl2F | pmhzdcfm.spc | PM | 102.92
Dichloromethane | 75-09-2 | CH2Cl2 | pnhzcdm.spc | PN | 84.93
1,2-Dichloropropane | 78-87-5 | C3H6Cl2 | rkhzdcp.spc | RK | 112.99
1,3-Dichloropropane | 142-28-9 | C3H6Cl2 | rlhzdcpr.spc | RL | 112.99
1,3-Dichloropropene | 542-75-6 | C3H4Cl2 | rmhzdcpe.spc | RM | 110.97
Dichloro silane | 4109-96-0 | H2Cl2Si | tjhzdcs.spc | TJ | 101
1,2-Dichlorotetrafluoroethane | 76-14-2 | C2Cl2F4 | qihzdctt.spc | QI | 170.93
Dichlorotrifluoroethane | 306-83-2 | C2HCl2F3 | qjhzdctg.spc | QJ | 152.92
Dicyclopentadiene | 77-73-6 | C10H12 | cdhzdpd.spc | CD | 132.21
Diethyl amine | 109-89-7 | C4H11N | hchzdeam.spc | HC | 73.14
Diethyl ether | 60-29-7 | C4H10O | ldhzdee.spc | LD | 74.12
Diethyl ketone | 96-22-0 | C5H10O | ifhzdek.spc | IF | 86.13
Diethyl sulfate | 64-67-5 | C4H10O4S | ofhzdesf.spc | OF | 154.18
Difluoroethane | 75-37-6 | C2H4F2 | qjjhzdfe.spc | QJJ | 66.05
Difluoromethane | 75-10-5 | CH2F2 | pohzdfm.spc | PO | 52.02
Di-isopropyl amine | 108-18-9 | C6H15N | hdhzdiam.spc | HD | 101.19
Di-isopropyl ether | 108-20-3 | C6H14O | lehzdie.spc | LE | 102.17
Diketene | 674-82-8 | C4H4O2 | tkhzdike.spc | TK | 84.07
Dimethoxy methane | 109-87-5 | C3H8O2 | nghzdmm.spc | NG | 76.1
N,N-Dimethyl acetamide | 127-19-5 | C4H9NO | hehzdmac.spc | HE | 97.12
Dimethyl amine | 124-40-3 | C2H7N | hfhzdma.spc | HF | 45.09
2,2-Dimethyl butane | 75-83-2 | C6H14 | bdhzdmb.spc | BD | 86.18
Dimethyl ether | 115-10-6 | C2H6O | lfhzdme.spc | LF | 46.07
N, N-Dimethyl formamide | 68-12-2 | C3H7NO | hghzdmfa.spc | HG | 73.1
1,1-Dimethyl hydrazine | 57-14-7 | C2H8N2 | nhhzdmhz.spc | NH | 60.1
Dimethyl sulfate | 77-78-1 | C2H6O4S | oghzdmsf.spc | OG | 126.13
Dimethyl sulfide | 75-18-3 | C2H6S | ohhzdms.spc | OH | 62.13
Dimethyl sulfoxide | 67-68-5 | C2H6OS | oihzdmso.spc | OI | 78.13
Dinitrogen pentoxide | 10102-03-1 | N2O5 | mahzn2o5.spc | MA | 108.01
Dinitrogen tetroxide | 10544-72-6 | N2O4 | mbhzn2o4.spc | MB | 92.02
1,4-Dioxane | 123-91-1 | C4H8O2 | fchzdiox.spc | FCC | 88.1
Dodecane | 112-40-3 | C12H26 | cghzdod.spc | CE | 170.41
Enflurane | 13838-16-9 | C3H2ClF5O | lfhzenf.spc | LFF | 184.49
Epichlorohydrin | 13403-37-7 | C3H5ClO | tlhzech.spc | TL | 92.53
1,2-Epoxybutane | 106-88-7 | C4H8O | fdhzeb.spc | FD | 72.11
Ethane | 74-84-0 | C2H6 | aihzet.spc | AI | 30.07
Ethanol | 64-17-5 | C2H6O | jkhzeta.spc | JK | 46.07
2-Ethoxy ethanol | 110-80-5 | C4H10O2 | jlhetet.spc | JL | 90.12
2-Ethoxy ethyl acetate | 111-15-9 | C6H12O3 | kchzeeac.spc | KC | 132.16
Ethyl acetate | 141-78-6 | C4H8O2 | kdhzeac.spc | KD | 88.11
Ethyl acetylene | 107-00-6 | C4H6 | ajhzeacy.spc | AJ | 54.09
Ethyl acrylate | 140-88-5 | C5H8O2 | kehzeay.spc | KE | 100.12
Ethyl amine | 75-04-7 | C2H7N | hhhzetam.spc | HH | 45.09
Ethyl benzene | 100-41-4 | C8H10 | dbhzebz.spc | DB | 106.17
Ethyl butyrate | 105-54-4 | C6H12O2 | kfhzebu.spc | KF | 116.1
Ethyl cyanide (nitrile) | 107-12-0 | C3H5N | nihzetcn.spc | NI | 75.07
Ethylene | 74-85-1 | C2H4 | akhzety.spc | AK | 28.05
Ethylene diamine | 107-15-3 | C2H8N2 | hihzhmpa.spc | HI | 60.1
Ethylene glycol | 107-21-1 | C2H6O2 | jmhzetg.spc | JM | 62.07
Ethylene oxide | 75-21-8 | C2H4O | fehzeo.spc | FE | 44.05
Ethylene sulfide | 420-12-2 | C2H4S | okhzetys.spc | OK | 60.12
Ethyl formate | 109-94-4 | C3H6O2 | kghzetf.spc | KG | 74.08
2-Ethyl-1-hexanol | 104-76-7 | C8H18O | jnhzehx.spc | JN | 130.23
2-Ethyl hexyl acrylate | 103-11-7 | C11H20O2 | khhzeha.spc | KH | 184.28
Ethyl iodide | 75-03-6 | C2H5I | qkhzeti.spc | QK | 155.97
Ethyl mercaptan | 75-08-1 | C2H6S | ojhzemc.spc | OJ | 62.13
Ethyl nitrite | 109-95-5 | C2H5NO2 | njhzetni.spc | NJ | 75.07
Ethyl propionate | 105-37-3 | C5H10O2 | kihzetpr.spc | KI | 102.13
2-Ethyl toluene | 611-14-3 | C9H12 | dchz2et.spc | DC | 120.2
3-Ethyl toluene | 620-14-4 | C9H12 | ddhz3et.spc | DD | 120.2
Ethyl vinyl ether | 109-92-2 | C4H8O | lghzeve.spc | LG | 72.11
Exxon 87 gasoline | 8006-61-9 | - | cfhzgas.spc | CF
Fluoro benzene | 462-06-6 | C6H5F | sjhzfbz.spc | SJ | 96.11
2-Fluoro ethanol | 371-62-0 | C2H5FO | johz2fe.spc | JO | 64.06
Formaldehyde | 50-00-0 | CH2O | grhzfa.spc | GR | 30.03
Formic acid, monomer | 64-18-6 | CH2O2 | gghzfac.spc | GG | 46.03
Furan | 110-00-9 | C4H4O | ffhzfura.spc | FF | 68.07
Germane | "7782-65-2" | H4Ge | edhzgeh4.spc | ED | 76.62
Glyceryl trinitrate | 55-63-0 | C3H5N3O9 | nkhxnitr.spc | NK | 227.09
Halothane | 151-67-7 | C2HBrClF3 | qkkhzhta.spc | QKK | 197.39
n-Heptane | 142-82-5 | C7H16 | cghzhep.spc | CG | 100.21
1-Heptene | 592-76-7 | C7H14 | chhzhep.spc | CH | 98.9
Hexachloro-1,3-butadiene | 87-68-3 | C4Cl6 | rnhzhcbd.spc | RN | 260.76
Hexachlorocyclopentadiene | 77-47-4 | C5Cl6 | rohzhccp.spc | RO | 272.77
Hexachloroethane | 67-72-1 | C2Cl6 | qlhzhce.spc | QL | 236.74
Hexafluoro acetone | 684-16-2 | C3F6O | ifhzhxfa.spc | IFF | 166
Hexafluoropropene | 116-15-4 | C3F6 | rphzhxfp.spc | RP | 150.02
Hexamethyl phosphoramide | 680-31-9 | C6H18N3OP | hjhzhmpa.spc | HJ | 179.2
n-Hexane | 110-54-3 | C6H14 | behzhx.spc | BE | 86.18
Hexafluoro ethane | 76-16-4 | C2F6 | qllhzhxf.spc | QLL | 138.01
Hexanoic acid | 142-62-1 | C6H12O2 | ghhzhxa.spc | GH | 116.16
2-Hexanone | 591-78-6 | C6H12O | ighzhxo.spc | IG | 100.16
1-Hexene | 592-41-6 | C6H12 | bfhzhxe.spc | BF | 84.16
Hexyl acetate | 142-92-7 | C8H16O2 | kjhzhxa.spc | KJ | 144.21
Hydrazine | 302-01-2 | H4N2 | eehzhz.spc | EE | 32.05
Hydrogen bromide | 10035-10-6 | BrH | efhzhbr.spc | EF | 80.92
Hydrogen chloride | 7647-01-0 | HCl | eghzhcl.spc | EG | 36.46
Hydrogen cyanide | 74-90-8 | CHN | mchzhcn.spc | MC | 27.06
Hydrogen fluoride | 7664-39-3 | HF | ehhxhf.spc | EH | 20.01
Hydrogen Iodide | 10034-85-2 | HI | eihkhi.spc | EI | 127.92
Hydrogen peroxide | 7722-84-1 | H2O2 | fghkh2o2.spc | FG | 34.02
Hydrogen sulfide | 7783-06-4 | H2S | omhkh2s.spc | OM | 34.08
Iodomethane | 74-88-4 | CH3I | pphzim.spc | PP | 141.94
2-Iodopropane | 75-30-9 | C3H7I | rqhz2ip.spc | RQ | 169.99
Iron pentacarbonyl | 13463-40-6 | C5FeO5 | tmhzipc.spc | TM | 195
Isoamyl alcohol | 123-51-3 | C5H12O | jphziaa.spc | JP | 88.15
Isobutane | 75-28-5 | C4H10 | alhzibu.spc | AL | 58.12
Isobutanol | 78-83-1 | C4H10O | jqhziba.spc | JQ | 74.12
Isobutyl acetate | 110-19-0 | C6H12O2 | kkhzibac.spc | KK | 116.16
Isobutylene | 115-11-7 | C4H8 | amhziby.spc | AM | 56.1
Isocyanic acid | 75-13-8 | CHNO | mdhzicya.spc | MD | 43.03
Isoflurane | 26675-46-7 | C3H2ClF5O | lghzifl.spc | LGG | 184.49
Isooctane | 540-84-1 | C8H18 | cihzioct.spc | CI | 114.23
Isophorone | 78-59-1 | C9H14O | ihhziph.spc | IH | 138.21
Isoprene | 78-79-5 | C5H8 | bghzip.spc | BG | 68.12
Isopropanol | 67-63-0 | C3H8O | jrhzipa.spc | JR | 60.1
Isopropyl acetate | 108-21-4 | C5H10O2 | klhzipa.spc | KL | 102.13
Isopropyl amine | 75-31-0 | C3H9N | hkhzipam.spc | HK | 59.11
Isopropylbenzene | 98-82-8 | C9H12 | dfhzipb.spc | DF | 120.2
Isopropyl chloride | 75-29-6 | C3H7Cl | rrhzipcl.spc | RR | 78.54
K-1 Kerosene | 8008-20-6 | - | cjhzker.spc | CJ
Limonene | 138-86-3 | C10H16 | dfhzlim.spc | DF | 136.24
Maleic anhydride | 108-31-6 | C4H2O3 | fhhzmanh.spc | FH | 98.06
Mesitylene | 108-67-8 | C9H12 | dghzmty.spc | DG | 120.2
Methacryloyl chloride | 920-46-7 | C4H5ClO | tnhzmac.spc | TN | 104.54
Methane | 74-82-8 | CH4 | anhzme.spc | AN | 16.04
Methane sulfonyl chloride | 124-63-0 | CH3ClO2S | onhzmsc | ON | 114.55
Methanol | 67-56-1 | CH4O | jlnzma.spc | JS | 32.04
Methyl acetate | 79-20-9 | C3H6O2 | kknzmac.spc | KM | 74.08
Methyl acrylate | 96-33-3 | C4H6O2 | klnzmacr.spc | KN | 86.09
Methyl acrylo nitrile | 126-98-7 | C4H5N | nlhzman | NL | 67.09
Methyl amine | 74-89-5 | CH5N | njnzmam.spc | HL | 31.06
2-Methyl butane | 78-78-4 | C5H12 | bcnzmbut.spc | BH | 72.15
2-Methyl-2-butene | 513-35-9 | C5H10 | bdnz2m2b.spc | BI | 70.14
3-Methyl-1-butene | 563-45-1 | C5H10 | benz3m1b.spc | BJ | 70.14
Methyl chloro disilanes | 1590-87-0 | CH7Si2Cl | tohzmcd.spc | TO | 110.69
Methyl chloro formate | 79-22-1 | C2H3ClO2 | kphzmcf.spc | KP | 94.5
Methyl fluoride | 593-53-3 | CH3F | pqhzmf.spc | PQ | 34.04
Methyl formate | 107-31-3 | C2H4O2 | kqhzmf.spc | KQ | 60.05
Methyl hydrazine | 60-34-4 | CH6N2 | nmhzmhz.spc | NM | 46.07
Methyl isoamyl ketone | 110-12-3 | C7H14O | iihzmik.spc | II | 114.19
Methyl isobutyl ketone | 108-10-1 | C6H12O | ijhzmbk.spc | IJ | 100.16
Methyl isocyanate | 624-83-9 | C2H3NO | nnhzmicy.spc | NN | 57.05
Methyl isothiocyanate | 556-61-6 | C2H3NS | oohzmitc.spc | OO | 73.12
Methyl mercaptan | 74-93-1 | CH4S | ophzmmc.spc | OP | 48.11
Methyl methacrylate | 80-62-6 | C5H8O2 | krhzmm.spc | KR | 100.12
Methyl nitrite | 624-91-9 | CH3NO2 | nohzmni.spc | NO | 61.04
2-Methyl pentane | 107-83-5 | C6H14 | bkhz2mp.spc | BK | 86.18
3-Methyl pentane | 96-14-0 | C6H14 | blhz3mp.spc | BL | 86.18
2-Methyl-1-pentene | 763-29-1 | C6H12 | bmhzmpe.spc | BM | 84.16
2-Methyl-2-pentene | 625-27-4 | C6H12 | bnhzsmsp.spc | BN | 84.16
cis-4-Methyl-2-pentene | 691-38-3 | C6H12 | bohz4m2p.spc | BO | 84.16
Methyl trichloro silane | 75-79-6 | CH3Cl3Si | tphzmts.spc | TP | 149.48
Methyl tert-butyl ether | 1634-04-4 | C5H12O | lhhzmtbe.spc | LH | 88.15
Methyl vinyl ether | 107-25-5 | C3H6O | lihzmvet.spc | LI | 58.08
Methyl vinyl ketone | 78-94-4 | C4H6O | ikhzmvk.spc | IK | 70.09
Naphthalene | 91-20-3 | C10H8 | dhhznaph.spc | DH | 128.17
Nickel carbonyl | 13463-39-3 | C4NiO4 | tqhznc.spc | TQ | 170.75
Nitric acid | 7697-37-2 | HNO3 | mehzhno3.spc | ME | 63.02
Nitric oxide | 10102-43-9 | NO | mfhzno.spc | MF | 30.01
Nitro benzene | 98-95-3 | C6H5NO2 | nphznbz.spc | NP | 123.11
Nitro ethane | 79-24-3 | C2H5NO2 | nqhzne.spc | NQ | 75.07
Nitrogen dioxide | 10102-44-0 | NO2 | mghzno2.spc | MG | 46.01
Nitrogen dioxide (and N2O4 or Dinitrogen tetroxide) | 10544-72-6 | N2O4 | mhhzndd.spc | MH
Nitro methane | 75-52-5 | CH3NO2 | nrhznm.spc | NR | 61.04
Nitrogen trifluoride | 7783-54-2 | F3N | mihznf3.spc | MI | 71.01
1-Nitropropane | 108-03-2 | C3H7NO2 | nshznp.spc | NS | 89.09
2-Nitropropane | 79-46-9 | C3H7NO2 | nthznipp.spc | NT | 89.09
Nitroso benzene | 586-96-9 | C6H5NO | nuhznobz.spc | NU | 107.11
N-Nitroso dimethyl amine | 62-75-9 | C2H6N2O | hmhzndma.spc | HM | 74.08
Nitroso morpholine | 59-89-2 | C4H8N2O2 | nvhznmph.spc | NV | 117.12
Nitrosyl Chloride | 2696-92-6 | ClNO | mjhznocl.spc | MJ | 65.46
Nitrous acid | 7782-77-6 | HNO2 | mkhxhno2.spc | MK | 47.02
Nitrous oxide | 10024-97-2 | N2O | mlhzn2o.spc | ML | 44.02
1-Nonanol | 143-08-8 | C9H20O | jthznnl.spc | JT | 144.26
1-Nonene | 124-11-8 | C9H18 | ckhznon.spc | CK | 126.24
Octafluoro propane | 76-19-7 | C3F8 | rshzofp.spc | RS | 188
Octafluorocyclobutane | 115-25-3 | C4F8 | rthzofcb.spc | RT | 200.04
n-Octane | 111-65-9 | C8H18 | clhzoct.spc | CL | 114.2
Octamethylcyclotetrasiloxane | 556-67-2 | C8H24O4Si4 | trhz1sox.spc | TR | 296.62
Octamethyltrisiloxane | 107-51-7 | C8H24O2Si3 | tshz2sox.spc | TS | 236
Ozone | 10028-15-6 | O3 | fihzoz.spc | FI | 48
Pentaborane | 19624-22-7 | B5H9 | ejhzpbo.spc | EJ | 63.12
Pentafluoroethane | 354-33-6 | C2HF5 | qmhzpfa.spc | QM | 120.02
n-Pentane | 109-66-0 | C5H12 | bdhzpent.spc | BD | 72.15
1-Pentanol | 71-41-0 | C5H12O | juhz1poh.spc | JU | 88.15
2-Pentanol | 6032-29-7 | C5H12O | jvhz2poh.spc | JV | 88.15
2-Pentanone | 107-87-9 | C5H10O | ilhzpent.spc | IL | 86.13
1-Pentene | 109-67-1 | C5H10 | bqhzpte.spc | BQ | 70.14
2-Pentene | 109-68-2 | C5H10 | brhzptee.spc | BR | 70.14
Pentafluoroethane | 354-33-6 | C2HF5 | qmhzpfa.spc | QM | 120.02
Pentafluoro sulfur methyl trifluoride | Not available | CF8S | orhzpsmt.spc | OR | 196.06
Perfluorobutane | 355-25-9 | C4F10 | ruhzpfbu.spc | RU | 214.02
Perfluoropentane | 678-26-2 | C5F12 | rvhzpfp.spc | RV | 288.05
Peroxy acetyl nitrate | 2278-22-0 | C2H3NO5 | nwhzpan.spc | NW | 121.03
Phenol | 108-95-2 | C6H6O | jwhzphen.spc | JW | 94.11
Phosgene (Carbonyl chloride) | 75-44-5 | CCl2O | tthzphg.spc | TT | 98.92
Phosphine | 7803-51-2 | H3P | ekhzph3.spc | EK | 34
Phosphorus trichloride | "7719-12-2" | Cl3P | tvhzptc.spc | TV | 137.35
Phosphoryl chloride | 10025-87-3 | Cl3OP | twhzphcl.spc | TW | 153.35
Propane | 74-98-6 | C3H8 | aohzpp.spc | AO | 44.1
n-Propanol | 71-23-8 | C3H8O | jxhzppl.spc | JX | 60.1
1-Propane thiol | 107-03-9 | C3H8S | oshzpth.spc | OS | 76.16
b-Propiolactone | 57-57-8 | C3H4O2 | imhzpplc.spc | IM | 72.06
Propionaldehyde | 123-38-6 | C3H6O | gshzpa.spc | GS | 58.08
Propionic acid, mon. and di. | 79-09-4 | C3H6O2 | gjhzpacm.spc | GJ
Propionic acid, mostly monomer | 79-09-4 | C3H6O2 | gihzpacm.spc | GI | 74.09
n-Propyl acetate | 109-60-4 | C5H10O2 | kshzpac.spc | KS | 102.13
n-Propylbenzene | 103-65-1 | C9H12 | dihzpbz.spc | DI | 120.2
Propylene | 115-07-1 | C3H6 | aphzppy.spc | AP | 42.08
Propylene glycol m,e Acetate | 108-65-6 | C6H12O3 | kthzpga.spc | KT
Propylene imine | 75-55-8 | C3H7N | nxhzppim.spc | NX | 57.09
Propylene oxide | 75-56-9 | C3H6O | fjhzpyo.spc | FJ | 58.08
n-Propyl nitrate | 627-13-4 | C3H7NO3 | nyhzpnit.spc | NY | 105.09
Propyne (Methyl acetylene) | 74-99-7 | C3H4 | aqhzpyn.spc | AQ | 42.08
Pyridine | 110-86-1 | C5H5N | nzhzpyr.spc | NZ | 79.1
Quinoline | 91-22-5 | C9H7N | naahzquin.spc | NAA | 129.16
Sevoflurane | 28523-86-6 | C4H3F7O | ljhzsefl.spc | LJ | 200.06
Silane | 7803-62-5 | H4Si | elhzsih4.spc | EL | 32.09
Silicon tetrachloride | 10026-04-7 | Cl4Si | txhzsic4.spc | TX | 169.89
Silicon tetrafluoride | 7783-61-1 | F4SI | tyhxsif4.spc | TY | 104.06
Styrene | 100-42-5 | C8H8 | djhzsty.spc | DJ | 104.15
Styrene oxide | 96-09-3 | C8H8O | fkhzstyo.spc | FK | 120.15
Sulfur dioxide | "7446-09-5" | O2S | othzso2.spc | OT | 64.07
Sulfur hexafluoride | 2551-62-4 | F6S | ouhxsf6.spc | OU | 146.07
Sulfur monochloride | 10025-67-9 | Cl2S2 | ovhzscl.spc | OV | 135.03
Sulfuryl chloride (SO2Cl2) | 7791-25-5 | Cl2O2S | owhzscl.spc | OW | 134.97
Sulfuryl fluoride (SO2F2) | 2699-79-8 | F2O2S | oxhzsf.spc | OX | 102.07
Tertiary butyl benzene | 98-06-6 | C10H14 | dkhztbbz.spc | DK | 134.22
1,1,1,2 Tetrachloroethane | 630-20-6 | C2H2Cl4 | qnhzttce.spc | QN | 167.85
1,1,2,2-Tetrachloroethane | 79-34-5 | C2H2Cl4 | qohzstce.spc | QO | 167.85
Tetrachloroethylene | 127-18-4 | C2Cl4 | rwhzttce.spc | RW | 165.83
1,1,1,2-Tetrafluoroethane | 811-97-2 | C2H2F4 | qphzttfe.spc | QP | 102.02
1,1,2,2-Tetrafluoroethane | 359-35-3 | C2H2F4 | qpphzstce.spc | QPP | 102.02
Tetrafluoromethane | 75-73-0 | CF4 | prhxtfm.spc | PR | 88
Tetrahydrofuran | 109-99-9 | C4H8O | flhzthf.spc | FL | 72.11
Tetrahydrothiophene | 110-01-0 | C4H8S | oyhztht.spc | OY | 88.17
Thio glycol | 60-24-2 | C2H6OS | ozhztgl.spc | OZ | 78.13
Thionyl chloride | "7719-09-7" | Cl2OS | oaahzthd.spc | OAA | 118.98
Thiophene | 110-02-1 | C4H4S | obbhztp.spc | OBB | 84.14
Thiophosgene | 463-71-8 | CCl2S | occhztpg | OCC | 114.99
Thiophosphoryl chloride | 3982-91-0 | Cl3PS | oddhztpc.spc | ODD | 169.42
Toluene | 108-88-3 | C7H8 | dlhztol.spc | DL | 92.14
2,4-Toluene diisocyanate | 584-84-9 | C9H6N2O2 | nbbhzdicy.spc | NBB | 174.16
o-Toluidine | 95-53-4 | C7H9N | ncchztld.spc | NCC | 107.16
Tribromomethane | 75-25-2 | CHBr3 | pshztbm.spc | PS | 252.77
Tributyl phosphate | 126-73-8 | C12H27O4P | tzhztbp.spc | TZ | 266.32
Trichloro acetyl chloride | 76-02-8 | C2Cl4O | taahztac.spc | TAA | 181.83
1,2,4-Trichlorobenzene | 120-82-1 | C6H3Cl3 | skhztcb.spc | SK | 181.45
1,1,1 Trichloroethane | 71-55-6 | C2H3Cl3 | qqhztc1.spc | QQ | 133.41
1,1,2 Trichloroethane | 79-00-5 | C2H3Cl3 | qrhztc2.spc | QR | 133.41
Trichloroethylene | 79-01-6 | C2HCl3 | rxhztce.spc | RX | 131.39
Trichlorofluoromethane | 75-69-4 | CCl3F | pthzf11.spc | PT | 137.4
Trichloronitromethane (Chloropicrin) | 76-06-2 | CCl3NO2 | nddhzcpi.spc | NDD | 164.38
2,4,5-Trichlorophenol | 95-95-4 | C6H3Cl3O | jyhztcph.spc | JY | 197.45
2,4,6-Trichlorophenol | 88-06-2 | C6H3Cl3O | jzhztrcp.spc | JZ | 197.45
1,2,3-Trichloropropane | 96-18-4 | C3H5Cl3 | ryhztcp.spc | RY | 147.43
Trichlorotrifluoroethane | 76-13-1 | C2Cl3F3 | qshztctf.spc | QS | 187.38
Triethylamine | 121-44-8 | C6H15N | hnhztea.spc | HN | 101.19
Trifluoroacetic acid, mon. and di. | 76-05-1 | C2HF3O2 | glhztfa.spc | GL | 144.02
Trifluoroacetic acid, mostly mon. | 76-05-1 | C2HF3O2 | gkhztfa.spc | GK | 144.02
Trifluoroacetic anhydride | 407-25-0 | C4F6O3 | tbbhztaa.spc | TBB | 210.03
1,1,1-Trifluoro acetone | 421-50-1 | C3H3F3O | inhztfa.spc | IN | 112.05
Trifluoroacetyl fluoride | 354-34-7 | C2F4O | trhz1sox.spc | TR | 116.01
Trifluoroethane | 27987-06-0 | C2H3F3 | qthztfe.spc | QT | 84.02
Trifluoro methyl iodide | 2314-97-8 | CF3I | pvhztfmi.spc | PV | 195.9
Trifluoromethane | 75-46-7 | CHF3 | puhztfm.spc | PU | 70.01
Trimethyl amine | 75-50-3 | C3H9N | hohztmam.spc | HO | 59.11
1,2,4-Trimethyl benzene | 95-63-6 | C9H12 | dmhztmbz.spc | DM | 120.2
2,2,4-Trimethyl pentane | 540-84-1 | C8H18 | cmhztmp.spc | CM | 114.23
Tungsten hexafluoride | 7783-82-6 | F6W | tddhzthf.spc | TDD | 297.86
Vinyl acetate | 108-05-4 | C4H6O2 | kuhzviac.spc | KU | 86.09
Vinyl bromide | 593-60-2 | C2H3Br | rzhzvbr.spc | RZ | 106.96
Vinyl chloride | 75-01-4 | C2H3Cl | raahzvc.spc | RAA | 62.5
Vinylidene chloride | 75-01-4 | C2H3Cl | rbbhznc.spc | RBB | 96.94
Vinylidene fluoride | 75-38-7 | C2H2F2 | rcchzvfl.spc | RCC | 64.04
Water | 7732-18-5 | H2O | emhkwat.spc | EM | 18.02
m-Xylene | 108-38-3 | C8H10 | dnhzmxl.spc | DN | 106.17
o-Xylene | 95-47-6 | C8H10 | dohzoxl.spc | DO | 106.17
p-Xylene | 106-42-3 | C8H10 | dphzpxl.spc | DP | 106.17

## Common Compound MDLs
Cerex Shepherd FTIR Multi-Gas Analyzer Single Gas Minimum Detection Limits
Compound | MDL |  | Compound | MDL
| Per Meter | Shepherd FTIR |  | Per Meter | Shepherd FTIR
| PPM-M | PPB |  | PPM-M | PPB
Acetaldehyde | 0.61 | 30.5 | Hydrogen Sulfide | 450 | 22500
Acetic Acid, monomer | 1.4 | 70 | Isobutane | 0.74 | 37
Acetone | 2.9 | 145 | Isobutanol | 0.34 | 17
Acetonotrile | 13 | 650 | Isobutylene | 0.41 | 20.5
Acetl Chloride | 0.67 | 33.5 | Isoctane | 0.59 | 29.5
Acetylene | 0.77 | 38.5 | Isoprene | 0.45 | 22.5
Acrolein | 0.85 | 42.5 | Isopropanol | 1.1 | 55
Acrylic Acid | 0.46 | 23 | Mesitylene | 0.92 | 46
Acrylonitrile | 1.5 | 75 | Methane | 3.5 | 175
Ammonia | 2.3 | 115 | Methanol | 0.41 | 20.5
Aniline | 3.9 | 195 | Methyl Acetate | 0.8 | 40
Arsine | 1.7 | 85 | Methyl Acrylate | 0.66 | 33
Benzene | 3.4 | 170 | Methylamine | 2.9 | 145
Bis-dichloroethylether | 0.7 | 35 | 2-Methyl 2-Butene | 4.7 | 235
Boron Trichloride | 0.2 | 10 | 3-Methyl 1-Butene | 1.6 | 80
Bromomethane | 8.2 | 410 | Methyl Formate | 1.5 | 75
Butadiene | 0.93 | 46.5 | Methyl Methacrylate | 0.65 | 32.5
n-Butane | 2.1 | 105 | Methyl Nitrite | 0.66 | 33
2-Butanone | 2.1 | 105 | 2-Methyl Pentane | 1.1 | 55
Carbon Disulfide | 3.4 | 170 | 3-Methyl Pentane | 0.6 | 30
Carbon Monoxide | 1.3 | 65 | 2-Methyl 1-Pentene | 1.7 | 85
Carbon Tetrachloride | 0.23 | 11.5 | 2-Methyl 2-Pentene | 0.9 | 45
Carbon Tetrafluoride | 0.2 | 10 | 4-Methyl 2-Pentene | 1.2 | 60
Carbonyl Sulfide | 0.48 | 24 | Methyl Vinyl Ether | 1.4 | 70
Chlorobenzene | 1.5 | 75 | Methyl Vinyl Ketone | 1.9 | 95
Chlorodifluoromethane | 0.21 | 10.5 | Nitric Acid | 0.63 | 31.5
Chloroethane | 2 | 100 | Nitric Acid | 23 | 1150
Chloroform | 0.25 | 12.5 | Nitro Benzene | 1.3 | 65
Chloromethane | 9.4 | 470 | Nitro Ethane | 3 | 150
Chlorotrifluoromethane | 0.6 | 30 | Nitrogen Dioxide | 2.9 | 145
Crotonaldehyde | 0.76 | 38 | Nitro Methane | 8.1 | 405
Cyclohexane | 0.2 | 10 | Nitrous Acid | 0.22 | 11
Cyclohexene | 0.71 | 35.5 | Nitrous Oxide | 1.9 | 95
Cyclopentene | 1.3 | 65 | Octane | 0.25 | 12.5
Cyclopropane | 2 | 100 | Ozone | 0.65 | 32.5
1,2 Dibromoethane | 2.3 | 115 | n-Pentane | 0.85 | 42.5
m-Dichlorobenzene | 1.2 | 60 | 1-Pentene | 1 | 50
o-Dichlorobenzene | 0.94 | 47 | 2-Pentene | 1.5 | 75
Dichlorodifluoromethane | 0.2 | 10 | trans-3-Pentene nitrile | 0.59 | 29.5
1,1 Dichloroethane | 1.1 | 55 | Phosgene | 0.2 | 10
1,2 Dichloroethane | 7.3 | 365 | Phosphine | 2.7 | 135
1,1 Dichloroethene | 0.68 | 34 | Propane | 1.9 | 95
1,2 Dichloroethene | 2 | 100 | Propionaldehyde | 0.49 | 24.5
Dichloromethane | 1.3 | 65 | Propionic Acid | 2.2 | 110
1,2 Dichlorotetrafluorethane | 0.2 | 10 | Propylene | 1.4 | 70
Diethyl Ether | 0.26 | 13 | Propylene Oxide | 2.2 | 110
Dimethylamine | 0.73 | 36.5 | Styrene | 1.2 | 60
Dimethyl Ether | 0.91 | 45.5 | Sulfur Dioxide | 4.5 | 225
1,1 Dimethyl Hydrazine | 0.35 | 17.5 | Sulfur Hexafluoride | 0.2 | 10
Dimethyl Sulfide | 0.3 | 15 | 1,1,1,2 Tetrachloroethane | 0.38 | 19
Ethane | 1.6 | 80 | 1,1,1,2 Tetrachloroethane | 40 | 2000
Ethanol | 0.89 | 44.5 | Tetrachloroethene | 0.2 | 10
Ethyl Benzene | 3.4 | 170 | Tetrahydrothiophene | 0.89 | 44.5
Ethylene | 0.64 | 32 | Toluene | 3.4 | 170
Ethylene Oxide | 1.1 | 55 | 1,1,1 Trichloroethane | 0.55 | 27.5
Ethyl Vinyl Ether | 1.2 | 60 | 1,1,2 Trichloroethane | 1.4 | 70
Fluorobenzene | 1.7 | 85 | Trichloroethene | 0.23 | 11.5
Formaldehyde | 0.45 | 22.5 | Trichlorofluormethane | 0.2 | 10
Formic Acid, Monomer | 0.78 | 39 | Trochlorotrifluoroethane | 0.2 | 10
Furan | 1.1 | 55 | Vinyl Acetate | 0.75 | 37.5
n-Hexane | 0.45 | 22.5 | Vinyl Chloride | 1.6 | 80
Hydrogen Bromide | 1.2 | 60 | Vinylidene Chloride | 0.69 | 34.5
Hydrogen Chloride | 0.61 | 30.5 | m-Xylene | 1.5 | 75
Hydrogen Cyanide | 6.8 | 340 | o-Xylene | 2.7 | 135
Hydrogen Fluoride | 0.2 | 10 | p-Xylene | 1.4 | 70

## Anesthetics Hospital
Cerex Shepherd FTIR Hospital Gas Library
| Compound | Formula | CAS No. | MDL | UDL | Notes
|  |  |  | PPM | PPM
1 | Water Vapor | H2O | 7732-18-5
2 | Carbon Dioxide 2255-2260_SB100 | CO2 | 124-38-9 | 2.7273 | 909.0909
3 | Carbon Monoxide 2156-2175 | CO | 630-08-0 | 0.54545 | 181.8182
4 | Methane 2945-2952 | CH4 | 74-82-8 | 0.37879 | 126.2626
5 | Nitrous Oxide 2132-2290 | N2O | 10024-97-2 | 0.088548 | 29.5159
5 | Nitrous Oxide 2505-2614 | N2O | 10024-97-3 | 6.8182 | 2272.7273
6 | Sevoflurane 1239 | CF3CH(CF3)OCH2F | 28523-86-6 | 0.066196 | 22.0653
7 | Desflurane 978-1275 | CF3CHFOCHF2 | 57041-67-5 | 0.035327 | 11.7758
8 | Isoflurane 1021-1257 | CF3CHClOCHF2 | 26675-46-7 | 0.040584 | 13.5281
9 | Halothane 1248-1295 | CF3CHBrCl | 151-67-7 | 0.074516 | 24.8385
10 | Enflurane 989-1249 | CHF2OCF2CHClF | 13838-16-9 | 0.058777 | 19.5925
11 | Ethylene Oxide 790-950 | C2H4O | 75-21-8 | 0.52448 | 174.8252
11 | Etylene Oxide 3058-3075 | C2H4O | 75-21-9 | 0.13501 | 45.0045
12 | Formaldehyde 2894-2902 | HCOH | 50-00-0 | 0.29644 | 98.8142
13 | Glutaraldehyde | C5H8O2 | 111-30-8 | 0 |  | Pending
14 | Hydrogen peroxide 1195-1264 | H2O2 | 7722-84-1 | 0.056349 | 18.7829
15 | o-Phthaldehyde (OPA) | C8H6O2 | 643-79-8 | 0 |  | Pending
16 | Methylmethacrylate 1065-1264 | C5H8O2 | 80-62-6 | 0.096712 | 32.2373
17 | Ammonia 954-977 | NH3 | 7664-41-7 | 0.12285 | 40.95
18 | Methanol 950-1100 | CH3OH | 67-56-1 | 0.16835 | 56.1167
19 | Ethanol 950-1160 | C2H5OH | 64-17-5 | 0.43988 | 146.6276
20 | Isopropanol 2700-3050 | CH3CHOHCH3 | 67-63-0 | 0.25729 | 85.7633
20 | Isopropanol 890-1010 | CH3CHOHCH4 | 67-63-1 | 0.80214 | 267.3797
21 | Acetone 1170-1260 | CH3COCH3 | 67-64-1 | 0.36855 | 122.8501
22 | Toluene 2905-2974 | C6H5CH3 | 108-88-3 | 1.7045 | 568.1818
23 | m-Xylene 742-800 | 1,3-(CH3)2C6H4 | 108-38-3 | 0.32468 | 108.2251
24 | o-Xylene 718-770 | 1,2-(CH3)2C6H4 | 95-47-6 | 0.11107 | 37.0235
25 | p-Xylene 756-826 | 1,4-(CH3)2C6H4 | 106-42-3 | 0.31612 | 105.3719

## Fluorocarbons (non-refrigerant)
Cerex FTIR FCs
Hexafluoropropene | 116-15-4 | C3F6 | rphzhxfp.spc | RP | 150.02
Hexafluoro ethane | 76-16-4 | C2F6 | qllhzhxf.spc | QLL | 138.01
Octafluoro propane | 76-19-7 | C3F8 | rshzofp.spc | RS | 188
Octafluorocyclobutane | 115-25-3 | C4F8 | rthzofcb.spc | RT | 200.04
Perfluorobutane | 355-25-9 | C4F10 | ruhzpfbu.spc | RU | 214.02
Perfluoropentane | 678-26-2 | C5F12 | rvhzpfp.spc | RV | 288.05
Tetrafluoromethane | 75-73-0 | CF4 | prhxtfm.spc | PR | 88
1,1,1,2-Tetrafluoroethane | 811-97-2 | C2H2F4 | qphzttfe.spc | QP | 102.02
1,1,2,2-Tetrafluoroethane | 359-35-3 | C2H2F4 | qpphzstce.spc | QPP | 102.02
Difluoroethane | 75-37-6 | C2H4F2 | qjjhzdfe.spc | QJJ | 66.05
Difluoromethane | 75-10-5 | CH2F2 | pohzdfm.spc | PO | 52.02
Fluoro benzene | 462-06-6 | C6H5F | sjhzfbz.spc | SJ | 96.11
Methyl fluoride | 593-53-3 | CH3F | pqhzmf.spc | PQ | 34.04
Pentafluoroethane | 354-33-6 | C2HF5 | qmhzpfa.spc | QM | 120.02
Pentafluoroethane | 354-33-6 | C2HF5 | qmhzpfa.spc | QM | 120.02
Trifluoroethane | 27987-06-0 | C2H3F3 | qthztfe.spc | QT | 84.02
Trifluoromethane | 75-46-7 | CHF3 | puhztfm.spc | PU | 70.01
Vinylidene fluoride | 75-38-7 | C2H2F2 | rcchzvfl.spc | RCC | 64.04
Carbonyl fluoride | 353-50-4 | CF2O | tfhzcof2.spc | TF | 66.01
Hexafluoro acetone | 684-16-2 | C3F6O | ifhzhxfa.spc | IFF | 166
Trifluoroacetic anhydride | 407-25-0 | C4F6O3 | tbbhztaa.spc | TBB | 210.03
Trifluoroacetyl fluoride | 354-34-7 | C2F4O | trhz1sox.spc | TR | 116.01
Desflurane | 57041-67-5 | C3H2F6O | lbhzdef.spc | LBB | 168.04
2-Fluoro ethanol | 371-62-0 | C2H5FO | johz2fe.spc | JO | 64.06
Sevoflurane | 28523-86-6 | C4H3F7O | ljhzsefl.spc | LJ | 200.06
Trifluoroacetic acid, mon. and di. | 76-05-1 | C2HF3O2 | glhztfa.spc | GL | 144.02
Trifluoroacetic acid, mostly mon. | 76-05-1 | C2HF3O2 | gkhztfa.spc | GK | 144.02
1,1,1-Trifluoro acetone | 421-50-1 | C3H3F3O | inhztfa.spc | IN | 112.05
1-Chloro-1,1 difluoroethane | 75-68-3 | C2H3ClF2 | qahzgt.spc | QA | 100.5

## Freons & Refrigerant Inclusions
Single Refrigerant Gas MDLs: Shepherd FTIR
Compound | CAS # | Formula |  |  | Mol Wt | Single Gas MDL | [5 empty] | PEL
[6 empty] | PPM-m | PPB | 10m Cell | 15m Cell | 20m Cell | Number | PPM
Chlorodifluoromethane | 75-45-6 | CHClF2 | pfhzf22.spc | PF | 86.47 | 0.21 | Less than 100 | 21 | 14 | 10.5 | FC-22 | 1000
Chlorotetrafluoroethane | 2837-89-0 | C2HClF4 | qdhzctfe.spc | QD | 136.47 |  |  | 0 | 0 | 0
1,1-Dichloro-1-fluoro ethane | 1717-00-6 | C2H3ClF2 | qhhzgs.spc | QH | 116.92 |  |  | 0 | 0 | 0
Dichlorofluoro methane | 75-43-4 | CHCl2F | pmhzdcfm.spc | PM | 102.92 | 0.25 | Less than 100 | 25 | 16.6667 | 12.5 | FC-21 | 10
Dichlorotrifluoroethane | 306-83-2 | C2HCl2F3 | qjhzdctg.spc | QJ | 152.92 |  | Less than 100 | 0 | 0 | 0
Chloropentafluoroethane | 76-15-3 | C2ClF5 | qchzcpfe.spc | QC | 154.5 |  | Less than 100 | 0 | 0 | 0 | FC-115 | 1000
Chlorotrifluoroethylene | 79-38-9 | C2ClF3 | rfhzctfe.spc | RF | 116.48 |  | Less than 100 | 0 | 0 | 0
Chlorotrifluoromethane | 75-72-9 | CClF3 | pihzctfm.spc | PI | 104.46 |  | Less than 100 | 0 | 0 | 0
Dichlorodifluoromethane | 75-71-8 | CCl2F2 | plhxf12.spc | PL | 120.92 | 0.2 | Less than 100 | 20 | 13.3333 | 10 | FC-12 | 1000
1,2-Dichlorotetrafluoroethane | 76-14-2 | C2Cl2F4 | qihzdctt.spc | QI | 170.93 | 0.2 | Less than 100 | 20 | 13.3333 | 10 | FC-114 | 1000
Trichlorofluoromethane | 75-69-4 | CCl3F | pthzf11.spc | PT | 137.4 | 0.2 | Less than 100 | 20 | 13.3333 | 10 | FC-11 | 1000
Trichlorotrifluoroethane | 76-13-1 | C2Cl3F3 | qshztctf.spc | QS | 187.38 | 0.2 | Less than 100 | 20 | 13.3333 | 10 | FC-113 | 1000
Ethane, 1,1,1-trichloro-2,2,2-trifluoro- | 354-58-5 | C2Cl3F3 | qshztctf.spc | QS | 187.38 |  | Less than 100 | 0 | 0 | 0
Ethane, 1,1,2,2-tetrachloro-1,2-difluoro- | 76-12-0 | C2Cl4F2 |  |  | 203.83 | 0.25 | Less than 100 | 25 | 16.6667 | 12.5 | FC-112 | 500
Ethane, 1,1,1,2-tetrachloro-2,2-difluoro- | 76-11-9 | C2Cl4F2 |  |  | 203.83 | 0.25 | Less than 100 | 25 | 16.6667 | 12.5 | FC-112a | 500
Enflurane | 13838-16-9 | C3H2ClF5O | lfhzenf.spc | LFF | 184.49 |  | Less than 100 | 0 | 0 | 0
Isoflurane | 26675-46-7 | C3H2ClF5O | lghzifl.spc | LGG | 184.49 |  | Less than 100 | 0 | 0 | 0
Bromotrifluoromethane | 75-63-8 | CBrF3 | pdhzcf3b.spc | PD | 148.92 | 0.4 | Less than 100 | 40 | 26.6667 | 20 | FC-13B1 | 1000
Dibromodifluoro methane | 75-61-6 | CBr2F2 | pjhzdbfm.spc | PJ | 209.81 | 0.3 | Less than 100 | 30 | 20 | 15 | FC-12B2 | 100
1,2-Dibromotetrafluoro ethane | 124-73-2 | C2Br2F4 | qeehzdte.spc | QEE | 259.83 |  | 0 | 0 | 0 | 0
Halothane | 151-67-7 | C2HBrClF3 | qkkhzhta.spc | QKK | 197.39 |  | 0 | 0 | 0 | 0
Pentafluoro sulfur methyl trifluoride | Not available | CF8S | orhzpsmt.spc | OR | 196.06 |  | 0 | 0 | 0 | 0
Trifluoro methyl iodide | 2314-97-8 | CF3I | pvhztfmi.spc | PV | 195.9 |  | 0 | 0 | 0 | 0
Common Detectable Refrigerant Gas Inclusions
Compound
Acetone
Ethanol
Methylene Chloride
Methanol
Nitromethane
Isopropanol
Note on A16: scott: Add to gas list
Note on A17: scott: Add to Gas List
Note on A18: scott: Add to gas list